15m Waterproof USB Inspection Camera Endoscope Pipe Cam

Feature:

1. Waterproof wire endoscope

2. High resolution with 1/6 CMOS camera

3. 4 LED low lux luminance lights can work better when the light very dark

4. XP system can watch video directly without install software, Vista or Win 7 needs install software which in the CD

5. Can take photo (XP system can use itself photo function to take photo or use our software, other system need use our software to take photo)

6. Can record video, and save the video in the PC

Specifications:

| Function items | Spec Description |
| --- | --- |
| Camera | 1/6” VGA COMS |
| Pixel | VGA 300K |
| Resolution | 640x480,352X288,320X240,176X144,160X120 |
| Capture Resolution | Up to 640X480 |
| LED | 4 White LED bright light |
| Waterproof | IP67 |
| Brightness | Auto |
| Exposed control | Auto |
| F/NO | 2.8 |
| Camera housing diameter | ￠14.5 mm |
| Wide visual view angle | 62° |
| LED switch | Adjustable lightness switch |
| Focal Distance | 6CM-infinate |
| I/O Interface | USB 2.0/1.1 |
| Color | 24 bits color |
| USB Cable Length | 15M |

Package Include:
 1 x USB Endoscope

1 x user manual

1 x CD drives

Note：

Each time you use waterproof inspection Camera there is water It didn’t stay in the water too long .