[image: image1.jpg]ION DETOX FOOT SPA
MANUAL

FOR THE BODY’S BALANCEAND CLEANSING



[image: image22.png]



PARTS LIST
[image: image2.jpg]



OPERATING INSTRUCTIONS
Connect the main frame to the power source, and then connect the parts we provide to the main frame. Make sure that put the fixture in a dry and stable place.

Turn on the machine by pressing down the power button on the back side of the main frame.
Put the arrays into your basin. The water level should completely submerge the array.
It is recommended that add about 0.1g sea salt to the bath water to enhance ionic conduction. 

Press the corresponding touch key to start the desired working cycle.

PANEL INSTRUCTIONS
[image: image3.png]XA
(%°°
e°®






[image: image4.jpg]




MODE INSTRUCTIONS
[image: image5.jpg]FIRST CHOICE OF HEALTH




Mode 1 (+)100%,(-)0%.

[image: image6.jpg]FIRST CHOICE OF HEALTH




Mode 2 (-)100%, (+)0%.

[image: image7.jpg]FIRST CHOICE OF HEALTH




Mode 3 (+)15%, (-)10%, (+)5%, (-)70%.

[image: image8.jpg]FIRST CHOICE OF HEALTH




Mode 4 (-)10%, (+)15%, (-)5%, (+)70%.

[image: image9.jpg]FIRST CHOICE OF HEALTH





Mode 5 (-)50%, (-)50%.

[image: image10.jpg]FIRST CHOICE OF HEALTH





Mode 6 (+)50%, (-)50%;

[image: image11.jpg]FIRST CHOICE OF HEALTH




Mode 7 (-)70%, (+)30%;

[image: image12.jpg]FIRST CHOICE OF HEALTH




Mode 8 (+)70%, (-)30%;

Mode 8 is the most practical working mode which is suitable for most of the people. Press TIME button can adjust working process.

ADJUST THE ION CONCENTRATION VALUE

Ion concentration value is displayed on the lower right corner of the screen. The perfect value range is between 2.5-2.8. If the value is lower than 0.6, the icon [image: image13.jpg]


 which means more salt is needed will flash. If the value is higher than 3.0, the icon [image: image14.jpg]


 which means more water is needed will flash and make beep sound. Either add more water to lower the concentration to 3.0 or adjust the intensity value to 2 or 1. There are three grades of working intensity [image: image15.jpg]


, if the ion concentration value higher than 3.3, the machine will stop working automatically.

HOW TO USE THE FIR BELT

FIR belt is needed to be connected to the main body at first and then be tied around user’s waist or thigh. Press the belt button[image: image16.jpg]


 to ignite the belt function. The icon [image: image17.png]


 which means low intensity will flash. Press belt button again can select Low, Medium and High intensity. The working period of FIR belt is 30 minutes.
HOW TO USE THE TENS PLATES

The tens plates are needed to be connected to the main body at first and then be attached to acupuncture points located on human body. Press the ON/OFF button  to ignite the tens plates function. The icon [image: image18.png]Manipulation



 which refers  manipulation mode will flash. There are five working modes. Press mode button [image: image19.png]


 or [image: image20.png]


 can adjust the modes. Icon [image: image21.png]


 refers to the working intensity which can be adjusted by pressing + or - button. The working period of tens plates is 30 minutes.
NOTICE
The array will usually be used for 50-60 sessions. When the array stops working, there will be no color turning in the process.

CAUTION

It should never be used by people who are:

Using a peacemaker;2. With a heart condition or epilepsy;3. Pregnant;
TROUBLESHOOTING

	SYMPTOM
	POSSIBLE CAUSE
	ACTION NEEDED

	No values displayed on the screen
	The Wrist Band enters protection mode
	Unplug the machine and reboot it.

	
	
	Press the STOP button and then START button twice. The screen will display values and reboot the wrist band function.

	Black Screen/the screen only displays zero
	The power supply is not connected
	Check if the power is plugged in.

	
	Fuse burned out
	Replace the fuse.

	
	The power switch is not turned on
	Turn on the power source.

	The machine stops working
	The array is not connected.
	Check if the array is plugged in

	
	The array is broken.
	Replace the array.


SPECIFICATION

Item No.: SUK-805D   Power: 130W

Frequency: 50Hz-60Hz

Electric Current: 0-3.0A

Input Power: AC110V

Out Power: 0-20V.
Please keep this manual for future use.





   FOOT SPA





Working Mode Switching Button





FIR Switching Button





Time Adjusting Button





TENS mode Adjusting Button





Intensity Increasing/Decreasing Button





Power Switch





Start/Stop the Working Cycle





Operating Steps


Once the machine is energized, press the upper A/B MODE button to select the desired working mode.


Press the A/B Time button to select the desired working cycle.


Press button START/STOP to start the working cycle.


Press the ON/OFF button.


Press the lower A/B MODE button to select the desired TENS mode.


Press the button + or - to adjust TENS intensity.


Press the A/B Belt button to select the desired belt function.


NOTE 


Please select the desired working mode before pressing the START/STOP button. Press the START/STOP button to save all settings and then no setting can be modified.


START/STOP button is supposed to control the upper A/B MODE and A/B Time button while the ON/OFF button is supposed to control the lower A/B MODE button and +/- button.


TENS refers to Transcutaneous Electrical Nerve Stimulation. It is the use of electric current produced by a the electrode plates to stimulate the nerves for therapeutic purposes, intending to reduce both acute and chronic pain.





FIR Belt Port





FIR Belt Port





 Power Switch      Power Cord Port








