[image: image1.png]


3

LG Programmable Monitoring Unit 

PMU 330 SERIES
[image: image20.png]


              
[image: image21.png]



[image: image22.png]126

196

B I
i
d
oz il 2dv  FG
- g
5 | Qesnr | M / slole]
1)z 3 4 5





Safety Precautions

· Safety Precautions is for using the product safe and correct in order to prevent the accidents and danger, so please go by them.

· The precautions explained here only apply to the Programmable Monitoring Unit (PMU). For safety precautions on the HMI (Human Machine Interface) system, refer to the Programmable Monitoring Unit User’s manual.

· The precautions are divided into 2 sections, ‘Warning’ and ‘Caution’. Each of the meanings is represented as follows.
[image: image23.png]©
&




[image: image24.png]


If violated instructions, it can cause death, fatal injury or considerable loss of property.

[image: image25.png]


[image: image26.png]126

196

B I
i
d
oz il 2dv  FG
- g
5 | Qesnr | M / slole]
1)z 3 4 5




If violated instructions, it can cause a slight injury or slight loss of products

· The symbols which are indicated in the PMU and User’s Manual mean as follows
[image: image27.jpg]


This symbol means paying attention because of danger of injury, fire, or malfunction.
[image: image28.png]


This symbol means paying attention because of danger of electric shock.

· Store this datasheet in a safe place so that you can take it out and read it whenever necessary. Always forward it to the end user.
[image: image29.png]©
&





[image: image30.png]



Precautions for use

· Do not Install other places except PMU controlled place.

· Make sure that the FG terminal is grounded with class 3 grounding which is dedicated to the PMU. Otherwise, it can cause disorder or malfunction of PMU

· Connect expansion connector correctly when expansion module are needed,

· Do not detach PCB from the case of the module and do not modify the module.

· Turn off power when attaching or detaching module.

· Cellular phone or walkie-talkie should be farther than 30cm from the PMU

· Input signal and communication line should be farther than minimum 100mm from a high-tension line and a power line in order not to be affected by noise and magnetic field.
[image: image31.png]" ® 8 8 8 B0
LI B B B B B
1 8





[image: image32.png]



[image: image35.png]


  Main Module Menu Summary

1. Main Menu
 - Functions : Controller Type, Communication Protocol, Version Info., Language Setting and Time Setting 

* Time Data is retained minimum 1week by super capacitor without input power voltage.

2. Communication Setting

 - Functions : Baud Rate, Data Bit, Parity Bit, Spmu Bit, Communication Level, Station Num,  Serial Timeout and Send Wait.

3. Initial Setting

 - Functions : Power On Mode, Screen off Time, Buzzer Sound, Latch Start Buf., Latch End Buf., Alarm, Printer, Security Password, Default Setting

4. Diagnosis

- Functions : Print Test, Memory Test, Touch Key and Display Test 

5. System Information

- Excluding Time data, you can have data of internal system buffer memory at the time of quitting running. (* Data type is 16bit HEX)

[image: image2.png]


  Package Contents

[image: image3.png]


 Main Module 1set                    [image: image4.png]


 Download Cable 1pcs(option)
[image: image33.png]


[image: image34.png]



                [image: image5.png]


 Bracket  4pcs
                                                                                          

[image: image6.png]


 Main Module H/W Manual
[image: image7.png]


 15 pin connector & housing

[image: image8.png]


  Outer Dimension (Front, Rear, Side, Upper, Bottom) 


[image: image9.png]



[Fig. Front Outer Dimension]

[Front View]

	No

.
	Title
	Feature

	1
	LCD
	330BTE
	330BT
	 330ST
	330TT

	
	
	STN

Mono
	STN 

256 Color
	TFT

256 Color

	
	Display Resolution
	320 X 240

	
	Screen Size
	5.7 inch 
	5.5 inch

	
	Brightness
	220cd/㎡
	150cd/㎡
	250cd/㎡

	2
	Touch Panel
	Analog
	Matrix

	3
	Front Sheet
	Front Vinyl Cover Sheet for Dampproof and Dustproof



[Fig. Rear Outer Dimension]
 [Rear View]
	No.
	Title
	Num. of Pin
	Feature

	1
	Rubber Packing
	
	Shock Absorber for Panel Mounting

	2
	Contrast Volume
	
	Contrast Adjust

	3
	RS-232C, 422 Connector
	15
	1~9: RS232C, 10~15:RS422

	4
	PS/2 Connector
	6
	Down Load and Serial Comm.

	5
	Power Input Terminal
	3
	Input Voltage Typical 24VDC

	6
	Reset Button
	
	H/W Reset

	7
	Option Module Connector
	
	Reserved Connector for Option



[Fig. Left/Right Outer Dimension]     


[image: image10.png]62

©
=3

47





[Fig. Upper/Bottom Outer Dimension]
* Panel Cutting size : 198W * 128H(mm)

[image: image11.png]


  Download Interface (RS232C)

Download Connection RS232C

In case of connecting Main Module 6P Connector and PC 9P Connector

Main Module(6P male)               PC(9P Male)


                 

In case of connecting Main Module 6P Connector and PC 25P Connector

Main Module(6P male)               PC(25P Male)



[image: image12.png]


  General Specification
	Item
	Specification

	
	PMU 330

	Input Voltage
	DC 24V(DC20V ~ DC28V)

	Power Consumption
	12W

	Noise Immunity
	Impulse Noise 900Vp-p, Pulse width 1㎲ 

	Insulation Resistance
	Above 10㏁ at DC 500V

Between Power Terminal and Grounding Terminal

	Operating Temperature
	0 ~ 50℃

	Storage Temperature
	-10 ~ 60℃

	Humidity
	40℃, 85%RH

	Grounding
	Class 3 Grounding  Resistance Under 100Ω

	Atmosphere
	No Corrosive Gas


[image: image13.png]



PMU Feature

	Item
	Specification
	Ref.

	PMU
	PMU

330BTE
	PMU

330BT
	 PMU

330ST
	PMU 

330TT
	

	Display Device
	STN 5.7”
Blue

Mono
	STN 5.7”
256

COLOR
	TFT5.5”
256

COLOR
	

	Display Resolution
	320 X 240
	Dot

	Panel Cut Size
	198(W) X 128(H)
	mm

	Brightness
	220cd/㎡
	150cd/㎡
	250cd/㎡
	

	Touch Cell
	320X 240
	 16 X 12
	

	Communication

Interface
	Serial RS232c/422/485
	

	
	Ethernet, Devicenet, Profibus, CC Link
	Under Development

	Printer
	NO

OPTION
	Option

HP Deskjet
	PLC Level 3


[image: image14.png]


  Serial Interface (RS-232C)
Feature

	Item
	Contents

	Protocol
	Half Duplex  

	Synch.
	Asynchronous

	Communication Distance
	About 15M

	Type of Connection
	1:1

	Control Code
	ASCII Code or HEXA Code

	Baud Rate
	9600, 19200, 38400, 57600, 76800, 115200bps

	Data Type
	Data Bit
	7,8bit

	
	Parity Bit
	None, Odd, Even

	
	Spmu Bit
	1,2bit


Connector Pins and Signals

	Type
	Pin Number
	Signal
	Direction
	Contents

	15Pin Female

[image: image15.png]" ® 8 8 8 B0
LI B B B B B
1 8





(COM2)
	1
	NC
	
	Not Used

	
	2
	RD(RxD)
	Input
	Data Receive

	
	3
	SD(TxD)
	Output
	Data Send

	
	4
	DTR
	Output
	Data Terminal Ready

	
	5
	SG
	
	Signal Ground

	
	6
	DSR
	Input
	Data Set Ready

	
	7
	RTS
	Output
	Send Request Signal

	
	8
	CTS
	Input
	Send Enable Signal

	
	9
	NC
	
	Not Used


[image: image16.png]


  Serial Interface (RS-422/485)
Connect main module to controller by RS-422/485 for communication.

Feature

	Item
	Contents

	Protocol
	Half Duplex, 5wires

	Synch.
	Asynchronous

	Communication Distance
	About 500M

	Type of Connection
	1:N(N≤31)

	Control Code
	ASCII Code or HEXA Code

	Baud Rate
	9600, 19200, 38400, 57600, 76800, 115200bps

	Data Type
	Data Bit
	7,8bit

	
	Parity Bit
	None, Odd, Even

	
	Spmu Bit
	1,2bit


Connector Pins and Signals

	Type
	Pin Number
	Signal
	Direction
	Contents

	15Pin terminal

[image: image17.png]" ® 8 8 8 B0
LI B B B B B
1 8




  (COM2)
	11
	RDA(RD+)
	Input
	Data Receive(+)

	
	12
	RDB(RD-)
	Input
	Data Receive(-)

	
	13
	SDA(SD+)
	Output
	Data Send(+)

	
	14
	SDB(SD-)
	Output
	Data Send(-)

	
	15
	SG
	
	Signal Ground


[image: image18.png]


  Project File Up/Download
Meaning of ‘Download’ is transferring projection file data from computer to PMU main module. 

And ‘Upload’ is transferring data from PMU Main module to computer.

Main module data will be saved up forever on flash memory of PMU main module  unless overwriting.

It is possible to transfer data on the main menu, communication setup menu, initial setup menu, diagnosis menu, and system information menu after connecting download cable between computer and PMU main module. 

it is possible to transfer data on running state

[image: image19.png]


  Font and O/S Download
- Connect download cable between 9-pin serial port and download port of PMU main module.

- Short circuit between 2nd pin and 3rd pin of 9pin D-Sub connector.

- Turn off power of main module and restart.

- After PMU main module is in the download ready mode, remove the short circuit connect 9pin D-sub connector to serial port of computer.

- In O/S and Font download mode of PMU Designer on PC, download them to PMU main module.

- After finishing downloading, PMU main module will be reset automatically.

- Downloadable fonts are bellows.

 8X8, 8X16, 16 X 16 dot, 16 X 32dot, 32 X 32 dot font






















20           





8            





7            SG





6           





5            





4           





3            RD





2            SD





1            





6            SD





5            





4           





3            SG





2            RD





1            





5





3





6





4





1





2





6            SD





5            





4           





3            SG





2            RD





1            





9           





8           CTS





7           RTS





6           DSR





5            SG





4           DTR





3            SD





2            RD





1            CD























5





3





6





4





1





2





PMU





< Bad >





< Good >





< Best >





Others





PMU





Caution











Be sure to check the rated voltage and terminal arrangement for the module before wiring work.


Risk of electric shock, fire and malfunction.


Tighten the screw of terminal block with the specified torque range.


If the terminal screw looses, it can cause fire and electric shock.


Use the PMU in an environment that meets the general specifications contained in this datasheet.


Risk of electrical shock, fire, erroneous operation and deterioration of the PMU.


Be sure that external load does not exceed the rating of output module.


Risk of fire and erroneous operation.


Do not use the PMU in the environment of direct vibration


Risk of electrical shock, fire and erroneous operation.


Do not disassemble, repair or modify the PMU.


Risk of electrical shock, fire and erroneous operation.


When disposing of PMU and battery, treat it as industrial waste.


Risk of poisonous pollution or explosion.





Warning











Do not contact the terminals while the power is applied.


Risk of electric shock and malfunction.


Protect the product from being gone into by foreign metallic matter.


Risk of fire, electric shock and malfunction.


Do not charge, heat, short, solder and break up the battery.


Risk of injury and fire by explosion and ignition.





Warning





Caution





� EMBED PBrush  ���





� EMBED PBrush  ���





� EMBED PBrush  ���








� EMBED PBrush  ���





� EMBED PBrush  ���








9








                                                         DATA SHEET





-  When using LGIS equipment, thoroughly read this datasheet and associated manuals introduced in this datasheet. Also pay careful attention to safety and handle the module properly.


-  Store this datasheet in a safe place so that you can take it out and read it whenever necessary.





LG Industrial Systems





�EMBED PBrush���





( Head Office


LG Twin Towers East Bldg. 9th Floor, 20, Yoido-Dong Youngdungpo-Gu, Seoul 150-721, KOREA


( Domestic Sales Team


PMU sales team	TEL:+82-2-3777-4620~34	


FAX:+82-2-3777-4622


Busan sales team	TEL:+82-51-310-6855~9


	FAX:+82-51-515-0406


Deagu sales team	TEL:+82-53-603-7740~5


	FAX:+82-53-603-7788


Gaungju sales team	TEL:+82-62-510-1885~91	


FAX:+82-62-526-3262


Deajeon sales team	TEL:+82-42-480-8919-20


	FAX:+82-42-489-8672


( Overseas Sales Team


PMU sales team	TEL:+82-2-3777-4640~7


	FAX:+82-2-3777-4648


( Web site 


� HYPERLINK "http://www.lgis.co.kr" ��http://www.lgis.co.kr� 	(Korean)


� HYPERLINK "http://www.lgis.com" ��http://www.lgis.com�	(English)


( Overseas Branches


USA	New Jersey Branch  	+1-201-816-2985


China        Bejing Branch		+86-10-6462-3256


Shanghai    Branch	             +86-21-5308-3582


JAPAN	Tokyo Branch		+81-3-3582-9128


Indonesia	Jakarta Branch		+62-21-897-4311


Vietnam	Hanoi Branch		+84-4-882-0222





1





6
































1





Others





PMU





Others








PAGE  

_1088864514

_1099212119

_1109163375

_1092916351

_1085410114

_1085410170

_1085384415

_964852785

