MyOximeter 
Operation Guide
I. Download and Installation
This app runs in iOS 7.0 and later versions and Android 4.3 and later versions of mobile phone operating systems. You can download the app using any of the following methods:
1. Scan the following QR to download the app and then install it:
[image: image1.png]



2. Download the app in the following URL:
http://image.jumper-health.com/oxygen.html
3. For iOS mobile phone users, go to the App Store and enter the key word "MyOximeter" to search for the app. Then, download and install the app.
4. For Android mobile phone users, go to the Google Market and enter the key word "MyOximeter" to search for the app. Then, download and install the app.
Note: Before running the app, turn on the mobile data connection of the mobile phone or connect the mobile phone to a Wi-Fi network.
II. Users Management
1. Registration
After the software is installed and started for the first time, access the user registration interface and enter the email and password for registration.

[image: image2.png]7 B |2 1805
Register Login

email

password





2. Login

a) Click Login to enter the following login interface, enter the registered email and password. Unregistered users can log in using a third-party platform account (for example, Facebook and Twitter).
[image: image3.png]7 B 12 18:06
\ Login Register

email

password

Forget Password?

The third login




b) After a successful login, the home screen is displayed.
[image: image4.png]7T Ex 4 18:08

Ny fER &R T

= . P02
= Please insert the probe
u
u
No
bluetooth

.-
. -
= |
u
h
I - .-
@ %Pl

15s 30s 45s 60s Tm15s

5§ N B N




3. Adding a Member
a) On the home screen, click the icon [image: image5.png]


, select the User Profile area, and click Add Member. The following is displayed on the screen.
[image: image6.png]7 Bx@18710
- Add Memeber

Name

Age

Gender @Male OFemale
Height(CM)

Weight(KG)




a) Select the user portrait (from the local gallery or by taking a new photo), enter the user's name, age, gender, height, and weight information, and click Submit to create the family member.
4. Modifying and Deleting Member Information

After a family member is created, go to the User Profile module, and click Edit on the top right. Select a member, and then you can edit or update the information about the member or delete the member.
[image: image7.png]= B Hd18:12
- Members

Name How

Age 25

Gender O@Male OFemale
Height(CM) 175.0
Weight(KG) 65.0





III. Connecting the Device—Finger Pulse Oximeter
1. Enabling Bluetooth
b) On the home screen, click Bluetooth. On the displayed page, click Search on the top right. A dialog box is displayed to ask you whether to turn on the Bluetooth. Click Set to enable the Bluetooth.
[image: image8.png]TR @1814
Search





c) Alternatively, directly turn on the Bluetooth and then click Search on the top right to search for Bluetooth devices.
[image: image9.png]3 7 Exm18:19
- Bluetooth Search

My Oximeter

F4:B8:5E:8C:CD:57




2. Connecting Bluetooth
Click the found Bluetooth "My Oximeter". Device information is obtained automatically and then paring and connection are performed automatically. After Bluetooth is connected, the window is redirected to the real-time detection window.
Note: a)
Before the device is found in the detection, keep the oximeter power-on, and place a finger into the oximeter for measurement.
b) If no measurement is performed after the connection, the oximeter automatically powers off in 10s and disconnects Bluetooth.
c) Only Bluetooth within 10m from the oximeter can be connected by the oximeter.

d) During the Bluetooth connection, do not enable multiple Bluetooth devices.
[image: image10.png])

T

3 7 EXH 1822

B 2 @

85/100

%SP02

6 1 50/150
bpmPR

1 1 4 0/20
° %P




IV. Real-Time Detection
After Bluetooth is connected, the blood oxygen saturation (SpO2), pulse rate (PR), blood perfusion index (PI), and volume charts of the measurement schedule and blood oxygen saturation are displayed in real time on the screen. After the detection is complete, measurement results are automatically saved locally.
V. Setting Limit Reminding 
1. Setting Limit Reminding Ranges
On the home screen, click the icon [image: image11.png]


 to enter the limit reminding range page. Press the adjusting point on the adjusting bar and move left or right to adjust the upper and lower limits. The settings are saved automatically when you return to the home screen.
After the limit reminding ranges are set, the mobile phone will alert with sound when a detected actual value exceeds the upper or lower limit. In addition, the measured value also turns red.
[image: image12.png]3 7 EXH18:23

Settings
SPO2 High 100 .
SP02 Low 85 .

85 100
HeartRate High 150 .
HeartRate Low 50 .

(0] 150
Pl High 20 .
Pl Low 0 .




2. Setting Limit Reminding On/Off
On the home screen, click the icon [image: image13.png]»



 to enable or disable the limit reminding function.
VI. Querying a Record

1. Querying a Local Record
On the home screen, click the icon [image: image14.png]


 of the recording module to enter the record page. The following page is displayed:
[image: image15.png]3 T EXH 1824

- Records o

Local

SPO2 HeartRate Pl

How 2015-06-30 18:24:13

98 68 8.8
(%)  bmp (%)

Clound

Report  Report  Shared

not Uploaded

g k& <




a) Viewing a Test Report

To view a test report, click [image: image16.png]


.

[image: image17.png]Oxyhemoglobin S aturation Report

User Information:

Name: How Age: 25 Gender: Male

Height: 175.0 Duration: 3m3s Testing Time: 2015-06-30 18:24:13
Weight: 65.0

Spo2 Spo2 Range Event
Base Line 98 99-90 183
Duration 0.0 89-80
Event 0.0 79-70
Minimum 96 69-60
Low Oxyhemoglobin average --- 59-50
Pulse Rate 49-40
Average(bpm/min) 68 39-30
Minimum(bpm/min) 60

O O o oo o

Analysis
Saturation Event
Pulse Rate Event
Plethysmogram
10] Sp02

9!
9
8!

8
Os 22s 44s 1més 1m28s 1m50s 2m12s 2m34s 2m56s

240 PR
200
160
120
80
40

Os 22s 44s 1més 1m28s 1m50s 2m12s 2m34s 2m56s





b) Viewing Charts

To view charts, click [image: image18.png]


.

[image: image19.png]3 7 EXH18:26
- Records

Day Month Year Custom

S
(e

(=)

18:24:15 18:24:26 18:24:36 18:24:47 18:24:57 18:25:08

-HeartRate Time: 2015-6-30
BsPo2 Time: 2015-6-30
100
9 5J_/_\/—\_/—
90
85

182415  18:24:26  18:24:36  18:24:47 182457  18:2508




c) Sharing a Report

To share a report, click [image: image20.png]


. You can share a report via a third-party platform or via an email.

[image: image21.png]3 7 B H 1827

Test Report

Oxyhemoglobin S aturation Report

User Information:

Name: How Age: 25 Gender: Male

Height: 175.0 Duration: 3m3s Testing Time: 2015-06-30 18:24:13
Weight: 65.0
Spo2 Spo2 Range Event
Base Line 98 99-90 183
Duration 0.0 89-80 0
Event 0.0 79-70 0
Minimum 96 69-60 0
Low Oxyhemoglobin average --- 59-50 0
Pulse Rate 49-40 0
Average(bpm/min) 68 39-30 0
Minimum(bpm/min) 60
Analysis
Saturation Event
Pulse Rate Event

Plethysmogram

10| Sp02

9

9

8!

8Os 22s 44s Tmés Tm28s 1m50s 2m12s 2m34s 2m56s
240 PR

200
160
120
80

Shared To

DO OGS





2. Viewing Records on the Cloud
On the local page, click the icon indicating uploading on the top right to upload local records in batches to the Cloud. Then, you can view the records on the Cloud anytime and anywhere.
3. Deleting Records
To delete a local record, press the record and slide to the left, and then click the delete icon to delete the record. To delete a record from the Cloud, press and hold the record for a while, and then a deletion dialog box will be displayed; then, click the delete icon to delete the record.
VII. Help
1. User Guide
The User Guide provides methods and operations of connecting this software to the oximeter.
2. APP Update
It provides version detection and upgrade services for users.
3. Language
Currently, Chinese and English are supported.

