[image: image1.png][image: image2.png]

Building user guide template
	Insert picture of your building in box




	Address:
	


	Responsibility of:
	
	Position:
	


	Building User Guide Issue Number:
	


	Date:
	


	This Building User Guide should be kept at all times in:
	


	Electronic version located at:
	


	Prepared by:
	


Contents 
1
51
Building Services Information


51.1
General building information


91.2
Building environment


91.3
Lifts and escalators


101.4
Security system


122
Emergency information


122.1
Fire response and alarm system


122.2
Fire evacuation procedures


132.3
First aid


143
Building Utility and Environmental Information


143.1
Overview of company policy and practices


143.2
Energy and environmental strategy


153.3
Annual building energy consumption


153.4
Energy conservation


163.5
Mechanical


163.6
Electrical


173.7
Communications


184
Water management


184.1
Water strategy


194.2
Domestic water


205
Materials and waste management


205.1
Materials purchasing policy


205.2
Waste management policy


216
Transport facilities


216.1
Transport


216.2
Parking


227
Refit and rearrangement CONSIDERATIONS


227.1
Re-fit building/building sections


237.2
Re-arrangement/addition of furniture


248
Reporting provision


248.1
Reporting procedures


258.2
Responsible parties


269
Training


269.1
Compulsory training


269.2
Additional training




BUILDING User Guide PURPOSE
The Building User Guide provides the end users/occupants of the building with a simple, quick and easy guide to the everyday functions of the building in order to ensure a safe and healthy work environment while complimenting the efficient operation of the building to the full potential provided by the design.
The production of a Building User Guide in conjunction with the Building Manual based on these BSRIA guidelines will meet relevant BREEAM credit requirements.  Within the Man 4 credit, the criteria relating to these documents are a minimum standard required for various BREEAM ratings depending on which scheme the assessment is being carried out under.  In most cases this applies to excellent or better ratings, but some international schemes require the credit for good or better ratings.
It is intended that the Building Manual will focus on information that is relevant to the building and its operation; while the Building User Guide will focus on information relating to the management of people and how they interact with the building. For example, information on how to shut down the main gas supply in the event of a gas leak should be included in the Building Manual and information on the occupants fire evacuation procedures included in the Building User Guide.  
With the gap that often exists between the design concept and the operators’ understanding of how the building works, the Building Manual and Building User Guide offer the opportunity to close this gap, and in doing so reduce excessive energy use and increased maintenance costs.

BUILDING USER GUIDE UPDATES AND REVIEWS

This user guide should be reviewed six monthly/annually (delete as necessary) and updated when changes to structure, layout, fabric or services of the building have been made.  Any changes to the document including removal or adding of pages should be recorded.

	 Review date
	Description and updates/changes
	Pages updated or removed
	Facilities manager signature

	
	
	
	

	
	
	
	

	
	
	
	

	
	
	
	

	
	
	
	

	
	
	
	

	
	
	
	

	
	
	
	

	
	
	
	

	
	
	
	

	
	
	
	

	
	
	
	

	
	
	
	

	
	
	
	

	
	
	
	

	
	
	
	

	
	
	
	

	
	
	
	

	
	
	
	

	
	
	
	

	
	
	
	

	
	
	
	

	
	
	
	

	
	
	
	


1 Building Services Information

1.1 general building information
Provide a general description of the building, location, design features, services and local infrastructure/amenities available.  Provide a “Pre-arrival pack” or list of information to be passed on to planned visitors/contractors/new staff telephonically, electronically or by post as appropriate, when booking an appointment. Also provide details of any shared facilities including who has access to these, when, why and how.  For example in a multi storey building where tenants have independent sections served by independent services, but have shared access via lifts and stairwells, or a business park with shared security access to communal visitor parking and dedicated tenant parking.

	Building description 

	

	Insert your picture here
	Insert your picture here

	
	


	Location map

	


	General floor plan – First floor

	


	General floor plan – Ground floor

	


	General site plan

	


	Visitor information 

	

	

	

	

	

	


	Building shared facilities 

	

	


1.2 building environment
Include details on heating, cooling, ventilation, lighting and acoustics. Also include a brief description of distribution/attenuation method(s) and positioning of units (walls, floor, or ceiling). Provide a floor plan showing main control point locations and state the maximum and minimum set points, operational times, override/alternate settings. Also provide a brief description on who should adjust the temperatures on the main controls and how to and when to adjust the temperatures on main controls, and details of zone and or local user control settings such as TRVs on radiators, and detail optimum settings for efficient operation.
	Element description 
	Distribution/attenuation method
	Photos

	
	
	

	
	
	

	
	
	

	
	
	


	Temperature control
	Photos

	Time schedule
	
	

	Temperature setpoints
	
	

	Out-of hours operation
	
	


1.3 lifts and escalators
Include details on the following information: provide a floor plan showing location of the mechanical lifts/escalators and provide capacities of the lifts or escalators. Also provide a brief description on how to operate lifts/escalators with Emergency/stop button, information in case of fire, procedure in case of fault/failure, and call button/intercom.

	How to operate lifts and escalators
	

	Procedure
	Description
	Photo

	Standard operation
	
	

	Emergency/stop button.  
	
	

	In case of fault/failure, call button/intercom 
	
	

	In case of fire
	
	


1.4 security system
Include details on the type of security system, times for manual and automatic activation, and which personnel are authorised to activate or deactivate the system. Provide details of the entry and exit procedure during normal hours and outside of normal working hours and provide a list of personnel who are authorised to activate or deactivate the system. Include a list times for manual and automatic activation. Provide details of entry/exit procedure during normal hours and outside normal working hours.
	Security system description

	Links to external organisation
	


	Name and contact details of authorised personnel 
	Telephone number

	
	

	
	

	
	

	
	

	
	


	Normal operating 
	Times

	Alarms off
	

	Alarms on 
	

	Alarms on (out-of-office hours)
	


	Entry procedure during normal working hours
	Photos

	
	


	Exit procedure during normal working hours
	Photos

	
	


	Entry procedure outside normal working hours
	Photos

	
	


	Exit procedure outside normal working hours
	Photos

	
	


2 Emergency information
Provide reference to master Health & Safety documents.
	Health and Safety documents

	

	

	

	


2.1 fire response and alarm system

	Type of alarm system

	


2.2 fire evacuation procedures
Include details on the procedure for calling the fire brigade, show locations of the fire escape routes and exit doors and assembly points outside the building in respective drawings in section 1.1.
	Fire emergency procedure

	


	Use of fire equipment 

	 


2.3 first aid
Provide a link to the list of registered first-aiders in the building with, contact numbers and areas of responsibility, also include the level of first aid training (use of defibrillator if applicable). Also give the procedure on calling for assistance, for example, in an emergency – person collapsed, chest pain, difficulty breathing, or serious injury, or with an incident – person feeling unwell, a minor trip, fall or injury. Also provide a floor plan showing the location of first aid facilities or equipment.

	Calling for assistance

	 


	Emergency first-aid procedure
	Photo

	
	


	Minor injury/illness first-aid procedure

	


3 Building Utility and Environmental Information
3.1 overview of company policy and practices
Provide an overview of the company policies and practices relating to company culture, desk-top policies, telephone equipment and protocol, media, email and internet protocols, dress code. If a canteen is provided include eating and drinking protocols. In addition include the facilities provided using dispensing machines for tea, coffee, cool drinks, and snacks. List recreational facilities included such as social and sports clubs. Show amenities such as, post office/box, food store/restaurant, bank/atm, pharmacy; and childcare on the location map section 1.1 (and/or include links to websites). 
	Company policies and protocols

	


	Canteen, refreshment s and public amenities
	Photos

	
	

	
	


3.2 energy and environmental strategy

Provide energy and environmental policy documents, including general company policies and site specific application of above and or separate site policies

	Energy and environmental policies and protocols
	Photos

	
	


3.3 annual building energy consumption
Provide details on the main heating fuel and secondary fuel(s); gas/electricity supply and management/monitoring; gas/electricity metering and areas of sub-metering; low or zero carbon technologies and renewable energy sources; provision and location of EPC and DEC certificates and Advisory Report. Also provide the provision of environmental rating and relevant assessment method.
	Management monitoring

	


	Low or zero carbon technology and renewable energy sources

	


	List of certificates and reports
	Location

	
	

	
	


3.4 energy conservation
See Section 3.3 and add any relevant protocols on energy conservation.
	List actions that affect energy efficiency and conservation

	


3.5 mechanical

Provide information for manual and automated blinds and how these can be adjusted, and ventilation strategies in natural/mechanical/mixed mode. List actions that can affect the efficiency of the systems and the energy conservation in the building such as, blocking supply outlets with filing cabinets or storage boxes, use of natural ventilation when the system is in automated modes, the opening of windows and doors – when to and when not to, the use of blinds in winter time affecting the natural lighting, and lack of use of blinds in summer time, causing additional solar heat gain. Give high flow temperature set points for each season.

	Blind adjustment

	


	Ventilation strategy

	


	Set-point for winter temperatures
	Set-point for summertime temperatures

	
	


3.6 electrical

Provide information on lighting and small power strategy, provision of UPS if applicable, provision of emergency lighting. List actions that can affect the efficiency of the systems and the energy conservation in the building such as: desk electric heaters/desk electric fans, use of override/local controls in areas with automated lighting systems and the use of lighting control procedures in lightly used areas. Provide Switch-off policy what, where and when.

	Lighting and small power strategy
	Photos

	
	

	
	


	Uninterruptible power supply (UPS)

	


	Emergency lighting

	


	List actions that affect energy efficiency and conservation

	


	Switch-off policy

	


3.7 communications

Provide information on the telephone system and operational procedures needed. And also provide information on the computer system used and include whether connectivity by Ethernet, or wireless and whether access is via intranet, extranet, interne.
	Communication procedures and policies

	


	Computer system connectivity

	Ethernet
	Wireless

	
	


	Company network options

	


4 Water management

4.1 water strategy
Provide information on the water supply and management strategy, water metering, sub-metering and monitoring (BMS linked?) and water saving/recycling features such as recycled grey water, and rainwater harvesting. Provide a description of internal and external landscaped areas, irrigation system/hand watering/plants and reliance on natural precipitation only.
	Water supply and management strategy

	


	Water metering
	Sub-metering
	Monitoring

	
	
	


	Water saving features
	Photos

	
	


	Internal landscape areas
	Photos

	
	


	External landscape areas
	Photos

	
	


	Water leaks
	Photos

	
	

	
	


4.2 domestic water

Provide information on the areas where potable water is supplied, the location of water coolers, bottled water and hot water supplies. List water saving features such as aerating taps, timed shut off, proximity sensors, flow rate restriction on showers, dual/low flush toilets, waterless urinals, occupation sensors and solenoid shut off/isolation valves.
	Potable water locations

	


	Water cooler/bottled water locations
	Photos

	
	


	Hot water supplies
	Photos

	
	


	Water saving features

	


5 Materials and waste management

5.1 materials purchasing policy

Include information such as a responsible sourcing of materials and the use of recycled materials.

	Materials purchasing policy

	


5.2 waste management policy

Include information about the recycling facilities used in the building, such as the use of bins, shredders, and compactors. Also include information on the use of recycling strands, such as paper, cardboard, plastic, cans, glass, and batteries. Show locations of the recycling collection points on floor plan in section 1.1, and provide a timetable for collections and contact details for special arrangements.

	Recycling facilities

	


	Recycling strands

	


	Contact details

	


6 Transport facilities

6.1 transport

Include information on public transport, show bus stops, train stations and taxi ranks on location map in section 1.1 and provide links to websites showing timetables, ticket prices and alternative transport, provide details of car pool/care share schemes and provide details of ‘Ride to Work’ schemes.

	Public transport

	


	Alternative transport

	


6.2 parking

Show the location of the building, location of offsite parking and other details on location map in section 1.1. Show dedicated visitor parking, dedicated/preferential car share parking, general staff parking, location of bicycles racks and location of access to site for pedestrians and cyclists, and all pedestrian and cycle routes on site on the general site plan in section 1.1.
	Parking and cycle racks

	


7 Refit and rearrangement CONSIDERATIONS

7.1 re-fit building/building sections
Provide information on the following considerations, design load/occupation densities, design levels/limitations of existing building services, scope for extending/upgrading existing building services, and provision for additional building services. Include the application of the material and waste management policies (see Section 5).
	Design load/occupational densities

	


	Design levels/limitations of existing building services

	


	Additional building services

	


	Material and waste management policies

	


7.2 re-arrangement/addition of furniture

Provide information about the impact on all aspects of the building environment (heating, cooling, ventilation, lighting and acoustics) due to moving furniture/partitions from designed layout, adding furniture/partitions/shelving and changing occupation densities. 
Also consider temporary/permanent placement of loose furnishings such as, spare chair, coat rack, filing cabinet, and storage boxes. List the impact this has on all aspects of the building environment (heating; cooling; ventilation; lighting and acoustics) through blocking or restricting access to supply grills, extract vents, control points, sensors, service and maintenance hatches, and emergency routes or services. Show layout of furniture fittings on the floor plans in section 1.1.
	Furniture and fittings 

	


	Temporary/permanent furnishings 

	


8 Reporting provision

8.1 reporting procedures
Include details on the protocol for reporting conditioning requirements such as temperature setting, and ventilation. General maintenance requirements such as a faulty light fitting, leaking tap, window not opening, and blinds not working should also be provided. List operational maintenance requirements, no power supply, no telephone/internet connection, and toilet not flushing and report any emergency requirements, such as burst pipes, and electrical short or sparking (also see Section 2).

	Conditional requirements 

	


	General maintenance requirements 

	


	Operational maintenance requirements 

	


	Emergency requirements 

	


8.2 responsible parties

Include contact information for the following, help desk, health and safety manager, facilities manager and maintenance team.
	Department
	Contact information

	Facilities Manager
	Name: 
	

	
	Telephone:
	

	
	Email:
	

	Facilities Maintenance Manager
	Name: 
	

	
	Telephone:
	

	
	Email:
	

	Administration Manager
	Name: 
	

	
	Telephone:
	

	
	Email:
	

	Health & Safety Officer
	Name: 
	

	
	Telephone:
	

	
	Email:
	

	Reception (Help Desk)
	Name: 
	

	
	Telephone:
	

	
	Email:
	


9 Training

9.1 compulsory training
This should include training details on the following information: site induction for new employees (building users/occupants), visitors, and contractors. Provide specialist training for selected personnel in air conditioning and heating, lighting and control, water waste management and recyclable procedures. Also include training for emergency procedures, including general aspects covered in site induction, with specialist training for selected personnel such as fire, first aid and lift failures.
	Site induction 

	Visitors
	

	New staff
	


	Specialist training for building services 

	


	Emergency procedures 

	


9.2 additional training
This should include training details on any innovative/energy saving methods or equipment and training for general internal/external projects aimed at meeting areas of corporate social responsibility.

	Additional training 

	


16
BUILDING MANUALS AND BUILDING USER GUIDES

[image: image3.png]
© BSRIA BG 26/2011

BUILDING MANUALS AND BUILDING USER GUIDES

1
[image: image4.png]


© BSRIA BG 26/2011

[image: image5.png][image: image6.png]