[image: image1.png]



[image: image21.png]



WT032 Programmable Thermostat
Operating Manual
[image: image22.png]A CAUTION





Before installation
[image: image23.png]A WARNING





Turn off the thermostat, electronic source and the electrical devices which will ve connected before installation and maintenance.
[image: image24.jpg]NC
NO
COM

Q2

Tow>
Towm>

o
NSNS

i
NSNS

[

REGLETA DE CONEXIONES

SINe

QT
i

-4
|
|
|
|
|

SNno
S)|com

N-———&/T——
L———— & ——
VALVULA DE 2 VIAS

SINC

777777777 QINO
————————— S)|com

A CALDERA





The installation must be done by trained service personnel.

Installation location
The thermostat should be mounted on an inner wall, 1,5 m above the floor.
Prevent direct exposure to sunlight, dripping or splashing area.

Do not place the unit at a location where air circulation is low, or where there are great temperature changes (e.g. near door). Do not place the thermostat near heat generating sources (radiators, hot air vents, TV or lights).
Opening the cover
Pull out the battery drawer and use a screwdriver to press on the spot shown below in order to detach the front Shell from its base as shown in the figure.
[image: image25.jpg]



Wiring the terminal
There are 3 wiring terminals at the back of the thermostat which is labeled as “COM”, “NO” and “NC” as shown in the figure 2.
The recommended wire ranges are AWG 14 – 22.
	Symbols
	Terminals

	COM
	24-230 Vac

	NO
	Normally open valve

	NC
	Normally closed valve















Mounting
Ensure the surface is leveled.
Place the cables at the hole near the terminal block.

Insert 2 pcs of wall anchors into the holes of the wall.

Fasten the thermostat with 2 pcs of long screws through the 2 mounting holes as shown in the figure 3.
[image: image2.png]


[image: image3.png]



Batteries insertion
Pull out the battery drawer and insert two fresh AAA alkaline batteries into the drawer according to the polarity marked inside; then slide the drawer back into place as shown in the figure  
Basic key and operation 

When the unit is powered on, all the LCD segrments are ON and go to normal display mode.
Key interface
[image: image4.png]





	Keys
	Function

	Up
	Setting value increase

	Down
	Setting value decrease

	Back
	Back key (Multifunction)

	Enter
	Enter key (Multifunction)


Normal display mode
Temperature measurement starts. Room & Current time will be displayed.
Program setting mode
Press the ENTER key in normal display mode to enter program setting mode. Select different item to set by pressing UP or DOWN button.
Setting cool/heat

[image: image5.png]



Setting hour

[image: image6.png]



Setting program


[image: image7.png]



Assigning program to day


[image: image8.png]



Predetermined program “HEAT” P8 and P9

	
	M
	T
	X
	T
	F
	S
	S

	Comfort
	6.00 – 10.00
12.00 – 23.00
	08.00 – 10.00
13.00 – 23.00

	Economic
	10.00 - 12.00
23.00 – 06.00
	23.00 – 08.00
10.00 – 13.00



Predetermined program “COOL” P10 and P11

	
	M
	T
	X
	T
	F
	S
	S

	Comfort
	5.00 – 09.00
11.00 – 23.00
	05.00 – 09.00
11.00 – 24.00

	Economic
	09.00 - 11.00 
23.00 – 05.00
	24.00 - 05.00
09.00 – 11.00


Function setting mode
Hold the ENTER key for 2 seconds in normal display mode to go to function setting mode. Select different otem to set by pressing UP or DOWN Button.
Display time unit 12/24 h
[image: image9.png]



Delay mode
[image: image10.png]d

Y




Temperature calibration
[image: image11.png]e |




Operation
Running the normal display mode. The thermostat would control the temperature according to mode, program and setting.
Program mode 

The thermostat controls the room temperature automatically according to setting program.
Each week/day has assigned program. Each program has its own time slot pattern. Either comfort or economic time slot has its own setting temperature.

[image: image12.png]


 / 
[image: image13.png]


 represent comfort/economic mode is running  respectively.
Setting comfort and economic temperature
In normal display mode, simply press UP or DOWN.
If comfort mode is running. Comfort temperature and 
[image: image14.png]


 will be flashing. Press UP or DOWN to adjust comfort temperature. During comfort temperature is flashing, press ENTER.
Economic mode temperature and 
[image: image15.png]


 will be flashing. Press UP or DOWN to adjust economic temperature. Press BACK to confirm and return to normal display mode.
Temporary override mode
In normal display mode, press BACK key once.

The thermostat will enter temporary override mode. Either comfort 
[image: image16.png]


 or econ 
[image: image17.png]


 mode icon with 
[image: image18.png]


, appear in the LCD play.  Set the override temperature by pressing UP or DOWN. The thermostat will maintain in temporary override mode until the next transition of comfort / econ state and by then the temporary override mode will be released.

Permanent override mode
In normal display mode, press BACK key twice to enter permanent override mode with 
[image: image19.png]


 showing in the LCD without comfort or econ icon.
Set the override temperature by pressing UP or DOWN. The thermostat will maintain the permanent override mode. Press BACK key again to release this mode.
Specification 
Temperature measuremente:

de 0(C~40(C 
Accuracy:




±0.5(C
Temperature controlable range: 

Heat: 

Comfort mode:



7(C~35(C
Economic mode:


5(C~33(C
Override mode:


5(C~35(C
Cool: 

Comfort mode:



5(C~33(C
Economic mode:


7(C~35(C
Override mode:


5(C~35(C
Resolution:


    
 
0.5(C 
Power supply:


      2 x AAA pilas   

alcalinas
Rating:

 

 
24 - 230Vac 5(1)A

Terminals:                 

2mm2 cable 

Operating temperature:


0°C~50°C 
Storage temperature:
 

-5°C~50°C 
Sensor:




NTC thermistor

LCD
[image: image20.png]



Temperature display “HI” when temp >40ºC and “LO” when temp   < 0ºC.
�











Down





Up








Back


Menú 





Enter











When it is flashing on the display, press ENTER key.


Press UP or DOWN to select heat or cool mode.


Press BACK key to confirm the setting and go back.





When it is flashing the display, press ENTER key.


Press UP or DOWN to adjust day.


Press ENTER to select hour.


Press UP or DOWN to adjust hour.


Press ENTER to select minute.


Press UP to assign the comfort time slot.


Press DOWN to assign economic time slot.


Press ENTER to select another program to set.


Press BACK to confirm and go back.





When it is flashing on the display, press ENTER Key.


Press UP or DOWN to change the program number 


That the program will be edited (P8-P15)


Press ENTER to start setting the program


Press UP to assign the comfort time slot


Press DOWN to assign economic time slot


Press ENTER to select another program to set.


Press BACK to confirm and go back.











When it is flashing on the display, press ENTER key.


Press UP or DOWN to select the day that the program will be assigned.


Press ENTER


Press UP or DOWN to change the program number for the specified day. (P0-P7 default program or P8-P15 editable program)


Press ENTER to confirm and select another day for assigning program. Press BACK to confirm and go back





Press ENTER. The value “12” or “24” will be flashing. Press UP or DOWN to select 12/24 Hour display mode.





Press ENTER. The value “Ld” or “Sd” will be flashing. Press UP or DOWN to select Long Delay Mode or Short Delay mode. The minimum off delay will be 5 minutes for Long Delay and 10 seconds for short delay.





NOTE: This setting is applicable for heat mode only. For cool mode, the minimum off delay will remain 5 minutes.








Press ENTER. The value of the offset temperatura ranging form -3 to 3 degrees will be flashing. Press UP or DOWN to adjust this value to calibrate the measured temperature.





NOTE: If the measured temperature is satisfied, it is not necessary to change this vlue and hus the value shall remain zero.





Cool 


Heat 


Comfort mode


Economic mode


Override


Defrost(<5ºC)


Output on


Low battery


Time slot


Black – Comfort


Nothing - Econ


Temperature


Time


Day of the week


Program








_1398868232

_1436606489

_1392278790

_1392284253

_1392278904

_1392278714

